## Cylindrospermopsin-CA
Beacon Analytical Systems, Inc.
Cylindrospermopsin-CA (20-0149-CA) ELISA Data Reduction Worksheet
Operador:
Data:
Ensaio ID:
Kit Lote #:
Seção I) Standard Calibrator Data
Absorbância Y (nm)
| # | Concentração X (ppb) |  | Y1 | Y2 | Average Y | % Bo
| 1 | 0 |  |  |  | #DIV/0! | #DIV/0!
| 2 | 0.05 |  |  |  | #DIV/0! | #DIV/0!
| 3 | 0.1 |  |  |  | #DIV/0! | #DIV/0!
| 4 | 0.3 |  |  |  | #DIV/0! | #DIV/0!
| 5 | 0.5 |  |  |  | #DIV/0! | #DIV/0!
| 6 | 1 |  |  |  | #DIV/0! | #DIV/0!
| 7 | 2 |  |  |  | #DIV/0! | #DIV/0!
Seção II) Determinação da Curva de Calibração
Quatro Parâmetros
|  | A | B | C | D
|  | 1.7522 | 1.2076 | 0.52637 | 0
Dados Modelo
Concentração X (ppb) |  | 0 | 0.05 | 0.1 | 0.3 | 0.5 | 1 | 2
Absorbância Y Prevista |  | 1.7522 | 1.6558 | 1.5444 | 1.1626 | 0.90331 | 0.55266 | 0.2914
Squared Deviation |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Soma dos Desvios Quadráticos |  |  |  |  | Coeficiente de Determinação
SSD = |  | #DIV/0! |  |  | R^2 = | #DIV/0!
Seção III) Cálculo as Amostras
# | Amostras |  | Absorbâncias Y (nm) |  |  | % Bo | Concentração X (ppb)
|  |  | Y1 | Y2 | Average Y
1 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
3 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
4 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
5 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
6 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
7 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
8 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
9 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
11 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
12 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
13 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
14 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
15 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
16 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
17 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
18 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
19 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
20 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Revisado e Aprovado: | [5 empty] | Data:

## Instructions
Instructions:
This template applies a four-parameter logistic regression equation (I) utilizing the 'Solver' function in Excel. Be sure that this function is installed and select "Enable Macros" if a dialog box appears upon opening. Only enter information or data into shaded cells, changing the contents of other cells will cause malfunction.
1.) Enter the operator, date, assay ID and kit lot number.
2.) Section I- Enter the calibrator absorbance data generated during analysis.
3.) Section II - Select shaded cell C37
4.) On the Excel functions bar, select the "DATA" heading followed by the "Solver" function located under the "Analysis" group.
5.) Select "Solve".
6.) Select "OK".
7.) Section III - Enter the sample absorbance data and the correct results will be automatically displayed.