## Saxitoxin 20-0173-CA
Beacon Analytical Systems, Inc.
Saxitoxin cat# 20-0173-CA ELISA Data Reduction Worksheet
Operator:
Date:
Assay ID:
Kit Lot #:
Section I) Standard Calibrator Data
Absorbance (nm)
| # | Concentration (ppb) |  | OD 1 | OD 2 | OD 3 | Average OD | % Bo
| 1 | 0 |  |  |  |  | #DIV/0! | #DIV/0!
| 2 | 0.02 |  |  |  |  | #DIV/0! | #DIV/0!
| 3 | 0.04 |  |  |  |  | #DIV/0! | #DIV/0!
| 4 | 0.08 |  |  |  |  | #DIV/0! | #DIV/0!
| 5 | 0.16 |  |  |  |  | #DIV/0! | #DIV/0!
| 6 | 0.4 |  |  |  |  | #DIV/0! | #DIV/0!
Section II) Curve Fitting
Four Parameters:
|  | A | B | C | D
|  | 1.7592 | 1.1368 | 0.076953 | 0.0404
Model Data:
| # | Concentration X (ppb) |  | Theoretical Y |  | Squared Deviation
| 1 | 0 |  | 1.7592 |  | #DIV/0!
| 2 | 0.02 |  | 1.4537 |  | #DIV/0!
| 3 | 0.04 |  | 1.2055 |  | #DIV/0!
| 4 | 0.08 |  | 0.88084 |  | #DIV/0!
| 5 | 0.16 |  | 0.56154 |  | #DIV/0!
| 6 | 0.4 |  | 0.26918 |  | #DIV/0!
| Sum of Squared Deviations: |  |  |  |  | Coefficient of Determination:
| SSD = |  | #DIV/0! |  |  | R^2 = | #DIV/0!
Section III) Sample Calculations
Sample |  | Absorbance (nm) |  |  |  | % Bo | Concentration (ppb)
|  | OD 1 | OD 2 | Average OD
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
Reviewed & Accepted: | [6 empty] | Date:

## Instructions
Instructions:
This template applies a four-parameter logistic regression equation (I) utilizing the 'Solver' function in Excel. Be sure that this function is installed and select "Enable Macros" if a dialog box appears upon opening. Only enter information or data into shaded cells, changing the contents of other cells will cause malfunction.
1.) Enter the operator, date, assay ID and kit lot number.
2.) Section I - Enter the calibrator absorbance data generated during analysis.
3.) Section II - Select shaded cell D41
4.) Open Excel Solver.
5.) Select "Solve".
6.) Select "OK".
7.) Section III - Enter the sample absorbance data and the correct results will be calculated.